## Table 5-2
U.S. Electricity Generating Capacity in 2008 and Plan B Goals for 2020
Source | Installed Capacity 2008 | Installed Capacity 2020 | Electricity Generation 2008 | Electricity Generation 2020
| Electrical Gigawatts |  | Petajoules
Fossil Fuels and Nuclear
Coal | 337.432 | 0 | 7179.7864 | 0
Oil | 62.484 | 0 | 163.2727 | 0
Natural Gas | 459.169 | 140 | 3198.6758 | 900
Nuclear | 105.764 | 106 | 2900 | 2900
Total | 964.849 | 246 | 13441.7349 | 3800
Renewables
Wind | 25.369 | 709.8891 | 288.0132 | 8060
Rooftop Solar Electric Systems | 0.9384 | 190 | 5.46 | 1260
Solar Electric Power Plants | 0.2346 | 30 | 1.365 | 220
Solar Thermal Power Plants | 0.419 | 120 | 2.6438 | 910
Geothermal | 3 | 69.8943 | 85.1472 | 1980
Biomass | 10.838 | 40 | 246.0868 | 960
Hydropower | 77.885 | 100 | 1085.6322 | 1319.8982
Total | 118.684 | 1259.7834 | 1714.3481 | 14709.8982
Note: Columns may not add to totals due to rounding.
Source: Fossil Fuels and Nuclear: 2008: Installed Capacity from U.S. Department of Energy (DOE), Energy Information Administration (EIA), "Existing Capacity by Energy Source, 2007," and "Planned Nameplate Capacity Additions from New Generators, by Energy Source, 2008 through 2012," Tables 2.2 and 2.4 in Electric Power Annual (Washington, DC: January 2009), p. 25, and from Erik Shuster, Tracking New Coal-Fired Power Plants (Pittsburgh, PA: DOE, National Energy Technology Laboratory, January 2009); Electricity Generation calculated from DOE, EIA, "Electricity Net Generation: Total (All
Sectors), Selected Years, 1949-2008," Table 8.2a in Annual Energy Review 2008 (Washington, DC: June 2009), p. 230; 2020: Installed Capacity and Electricity Generation calculated by backing out all coal- and oil-fired electricity generation, 70 percent of gas-powered electricity generation in 2006, and holding nuclear power generation at 2006 levels. Renewables: 2008: Installed Capacity: Wind from American Wind Energy Association, American Wind Energy Association Annual Wind Energy Report - Year Ending 2008 (Washington, DC: 2009), p. 4; Rooftop Solar Electric Systems and Solar Electric Power Plants estimated from European Photovoltaic Industry Association, Global Market Outlook for
Photovoltaics Until 2013 (Brussels: April 2009), p. 7 (total installed PV in the United States in 2008 estimated at 1,173 MW with 80 percent in rooftop electric systems and 20 percent in power plants); Solar Thermal Power Plants from DOE, National Renewable Energy Laboratory (NREL), "U.S. Parabolic Trough Power Plant Data," at www.nrel.gov/csp/troughnet/power_plant_data.html, updated 25 July 2008; Geothermal estimated from Kara Slack, U.S Geothermal Power Production and Development Update (Washington, DC: Geothermal Energy Association, August 2008), p. 2 and Kara Slack, U.S Geothermal Power Production and Development Update (Washington, DC: Geothermal Energy
Association, March 2009), p. 3; Biomass estimated by assuming that 2008 installed capacity is the same as 2007 from DOE, EIA, Electric Power Annual 2007 (Washington, DC: 2009), p. 24 (biomass includes wood and wood-derived fuels as well as biogenic municipal solid waste, landfill gas, sludge waste, agricultural byproducts); Hydropower estimated by assuming that 2008 installed capacity is the same as 2007 from DOE, EIA, Electric Power Annual 2007 (Washington, DC: 2009), p. 22 (hydropower excludes pumped storage); Electricity Generation calculated by converting installed capacity into actual generation using capacity factors from DOE, NREL, Power Technologies Energy Data Book
(Golden, CO: August 2006), p. 201; 2020: Installed Capacity and Electricity Generation: Wind assumes a growth rate of 32 percent from 2008 to 2020; Rooftop Solar Electric Systems calculated based on covering 23 percent of suitable rooftop area with PV and assuming 18 percent spacing and system (inverter) losses and an average power capacity of 12 watts per square foot; rooftop area from Maya Chaudhari, Lisa Frantzis, Tom Hoff, PV Grid Connected Market Potential under a Cost Breakthrough Scenario (Washington, DC: Navigant Consulting, September 2004); J. Paidipati, L. Frantzis, H. Sawyer, A. Kurrasch, Rooftop Photovoltaics Market Penetration Scenarios (Golden, CO:
DOE, NREL, February 2008); Solar Electric Power Plants assumes a growth rate of 51 percent from 2008 to 2020 (assumes an 8 percent inverter loss); Solar Thermal Power Plants assumes a growth rate of 60 percent from 2008 to 2020; Geothermal assumes a growth rate of 30 percent from 2008 to 2020; Biomass includes forest and urban wood waste, as well as perennial crops such as switchgrass and fast-growing trees, estimated from DOE and U.S. Department of Agriculture, Biomass as Feedstock for a Bioenergy and Bioproducts Industry: The Technical Feasibility of a Billion-Ton Annual Supply (Washington, DC: April 2005); average energy for biomass is 13 million Btus per ton from DOE, NREL,
Power Technologies Energy Data Book (Golden, CO: 2005); average power plant heat rate of 9,000 Btu/kWh from DOE, EIA, Assumptions to the Annual Energy Outlook 2005 with Projections to 2025 (Washington, DC: 2005); Hydropower assumes an additional 20,000 MW of capacity from new small hydropower, capacity gains at existing dams, new conventional hydropower at currently existing non-powered dams, ocean wave and hydrokinetic technologies from Electric Power Research Institute, Assessment of Waterpower Potential and Development Needs (Palo Alto, CA: 2007), p. vii.
This is part of a supporting dataset for Lester R. Brown, Plan B 4.0: Mobilizing to Save Civilization (New York: W.W. Norton & Company, 2009). For more information and a free download of the book, see Earth Policy Institute on-line at www.earthpolicy.org.